## Slide 1: North Santiam Watershed Drought Contingency Planning
May 8, 2025
PNWS-AWWA Section Conference
Leah Cogan

## Slide 2: Agenda
North Santiam watershed
Drought Contingency Plan overview
Drought monitoring
Vulnerability assessment
Mitigation and response actions
Administrative framework

## Slide 3: North Santiam Watershed
766 square miles
75% publicly owned
Detroit Reservoir
Drinking water source
Agriculture, forests, hydropower, recreation
Winter steelhead and spring Chinook salmon

## Slide 5: Drought Contingency Plan (DCP) Overview
Completed in 2017, approved in 2018
Bureau of Reclamation WaterSMART grant
  Santiam Water Control District
Goal: long-term resilience to droughts to minimize impacts on communities, local economies, and critical natural resources

## Slide 6: DCP Elements
Drought monitoring
Vulnerability assessment
Mitigation actions
Response actions
Operational and administrative framework
Update process

## Slide 7: Stakeholder Interests
Water providers
Agriculture
Forestry
Ecosystems
Hydropower
Recreation
Public agencies
Flood control

## Slide 8: DCP Update
Recommended every 5 years
Completed projects and new data
Feedback and lessons learned

## Slide 9
Pandemic
Wildfires
Ice Storms
Heat Dome

## Slide 10: Element 1: Drought Monitoring

## Slide 11: Monitoring Indicators
Air temperature
Precipitation
Snowpack
Reservoir levels
Streamflow

## Slide 12: Monitoring Indicators cont’d
Stream temperature
Wildfire hazard
Boat ramps
Salem water availability
US Drought Monitor

## Slide 13: US Drought Monitor

## Slide 14: Monitoring Framework Updates
Link to maps: https://drought.climate.umt.edu/?name=NorthSantiam
More stream temperature locations
Seasonal thresholds

## Slide 15: Element 2: Vulnerability Assessment

## Slide 16: Underlying Causes of Vulnerability
Single source of water
  No backup or interconnections
Intake limitations
Junior water rights
Reservoir operations

## Slide 17: Future Conditions
Stored water reallocation
Biological Opinion and EIS implementation
Population growth
Infrastructure projects
Climate change

## Slide 18: Climate Projections: Marion County

## Slide 19: Oregon Climate Projections
Increase in consecutive days without rain
Seasonal droughts 11-33% longer and 40% more severe by 2100
Snow water equivalent declines of 25% across Oregon by 2050

## Slide 20
Muni water use – Jefferson
Hydropower
Muni water use – Aumsville
Muni water use – Detroit, Idanha
Instream natural resources
Muni water use – Salem
Muni water use – Lyons-Mehama; Gates
Commercial irrigation
Fire suppression (multi-sector)
Water dependent recreation
Non- commercial irrigation
(Muni) commercial/indus. use
Other irrigation/ watering
Upland natural resources
Individual domestic use
Muni water use – Stayton
CONSEQUENCES
SENSITIVITY
HIGH
LOW
HIGH
Sensitivity:
Alternative water source
Capacity to adapt
Regulatory constraints
Consequences:
Public health and welfare
Watershed health
Economic impact
Current Conditions

## Slide 21: Element 3: Mitigation

## Slide 22: Mitigation Actions
Natural system resilience
Infrastructure efficiency
Collective efforts and consistent messaging
Funding and preparing for response

## Slide 23: Examples of Mitigation
Diversion improvements
Alternate water sources
Leak detection and repair
SCADA systems
Habitat enhancement
Water right planning

## Slide 24: Element 4: Response

## Slide 25: Response Action Goal
Collaborative, voluntary, watershed-wide basis
All sectors participate
  Regardless of vulnerability
  Reduce impacts to communities, economies, and natural resources
The watershed is in Stage X drought.
We all rely on one watershed.
Here’s how drought is affecting the watershed.
Please use water wisely. Here’s how:

## Slide 26: Types of Response Actions
Public outreach
Monitoring and evaluation
Water rights management
Water conservation
Emergency response

## Slide 27: New Issues Identified
Lack of impact tracking
Governor-declared drought emergency
Fire recovery
FIRO at Detroit Reservoir

## Slide 28: Proposed Changes
Water rights management tools applicability
Include funding sources
Update messaging and outreach materials

## Slide 29: Element 5: Operational and Administrative Framework

## Slide 30: Original Framework

## Slide 31: Planning Element Groups
Monitoring Group
Mitigation Group
Response Group
DCP Update Group

## Slide 32: Response and Drought Declaration Recommendations

## Slide 33: Improvements
Streamline!
Integrate with existing efforts
  Council of Water Leaders
  Partners of the North Santiam
  Sedcor
  Soil and Water Conservation District
Annual schedule

## Slide 34: Annual Schedule: Non-Drought Conditions
Annual
Meeting on progress
Update contact list
Review outreach templates
Quarterly
Check status of mitigation actions
Update website
Notes for future updates
Monthly
Drought stage monitoring and reporting

## Slide 35: Schedule During Drought
Monthly
Response group
Assess conditions and need for drought declaration
Biweekly/weekly
Drought monitoring and reporting
Outreach
Implement response actions
Track effectiveness
Post-drought
Convene and evaluate response
Notes for future updates

## Slide 36: Key Takeaways

## Slide 37: Key Takeaways
Relevant drought metrics vary by watershed
Consider underlying vulnerabilities
Work together
Strengthen mitigation and response
Less overwhelming
More likely to be accomplished
What works for you?
Infrastructure
Regulatory
Natural systems

## Slide 38: Thank you! Questions?
Leah Cogan
lcogan@gsiws.com
971-200-8529