## Slide 1: Groundwater Level Recovery in the Cooper Mountain-Bull Mountain Critical Groundwater Area through Implementation of ASR
Jason Melady, RG, CWRE and Ted Ressler, RG, CWRE
Summit Water Resources
PNWS-AWWA
May 8, 2025

## Slide 2: Presentation Outline
Introduction
Background and Project History
ASR Development
Summary
Questions
2 PNWS-AWWA May 8, 2025

## Slide 3: Introduction
3 PNWS-AWWA May 8, 2025
Aquifer Storage and Recovery (ASR)

## Slide 4: Introduction
4 PNWS-AWWA May 8, 2025
Aquifer Storage and Recovery (ASR)
  20 active projects
  Numerous in development
Project Location
  Beaverton/Tigard
  Active
  Inactive/Proposed

## Slide 5: Introduction
Western Suburban Portland
  City of Beaverton
  City of Tigard
  Tualatin Valley Water District (TVWD)
5 PNWS-AWWA May 8, 2025
Western Suburban Portland
  City of Beaverton
  City of Tigard
  Tualatin Valley Water District (TVWD)
Tualatin River basin
Initially an area of groundwater supply for municipal and irrigation use

## Slide 6: Introduction
Substantial population growth and development during 1950s-1960s
Increased groundwater development
  444 wells drilled compared to 26 before 1950
  Most completed in Columbia River Basalt Group aquifer
Increase in groundwater withdrawals and resulting aquifer level decline
6 PNWS-AWWA May 8, 2025
Oregonian, 2018
Oregonian, 2018

## Slide 7: Introduction
7 PNWS-AWWA May 8, 2025
Columbia River Basalt Group
  Regionally extensive
  Locally compartmentalized
  Productive aquifers
Critical Groundwater Areas
  Oregon Water Resources Department (OWRD)
  Overappropriated
  Declining Groundwater Levels

## Slide 8: Background - CGWA
Chart: Total Net Volume of Withdrawal (MG)
8 PNWS-AWWA May 8, 2025
CGWA Declared
ASR Starts
Beaverton 1998
Tigard 2001
TVWD 2008
Year 2024
SWL = 207
Year 1947
SWL = 214
Year 1974
SWL = 132
Groundwater usage increased to over 2 billion gallons annually by the early 1970’s
Groundwater level decline of over 80 feet
Cooper Mountain-Bull Mountain Critical Groundwater Area established in 1974
  Groundwater use from CRBG limited to existing users
  Maximum total withdrawal limited to 950 million gallons
  Tracking and reporting of groundwater

## Slide 9: Background
Cooper Mountain-Bull Mountain Critical Groundwater Area
Restricted 80 groundwater existing users
Maximum total withdrawal 950 mg
Significant impact to municipal groundwater use – Tigard, Beaverton, and TVWD
9 PNWS-AWWA May 8, 2025

## Slide 10: Background
Municipal water suppliers looked to alternative sources for increasing supply, which was surface water
Continued growth in the 1980’s-90’s and increasing demands leads a different challenge: surface water supply limitations, water treatment capacity limitations, conveyance limitations
10 PNWS-AWWA May 8, 2025

## Slide 11
11 PNWS-AWWA May 8, 2025
Chart: Surface Water Source Availability (mgd)
| Jan. | Feb. | Mar. | Apr. | May | June | July | Aug. | Sept. | Oct. | Nov. | Dec.
Daily Flow | 1725.6654 | 1874.3183 | 1809.6866 | 1945.4131 | 1770.9076 | 1047.033 | 633.3903 | 531.2723 | 538.3818 | 570.0513 | 1053.4961 | 1712.7391
Surface Water Availability

## Slide 12
12 PNWS-AWWA May 8, 2025
Chart: Surface Water Source Availability (mgd)
| Jan. | Feb. | Mar. | Apr. | May | June | July | Aug. | Sept. | Oct. | Nov. | Dec.
Daily Flow | 1725.6654 | 1874.3183 | 1809.6866 | 1945.4131 | 1770.9076 | 1047.033 | 633.3903 | 531.2723 | 538.3818 | 570.0513 | 1053.4961 | 1712.7391
Max Day Demand | 22.6021 | 23.4093 | 22.4198 | 22.9788 | 28.4349 | 37.6702 | 50.6725 | 51.7661 | 38.4236 | 25.5185 | 22.4138 | 22.2376
Surface Water Availability
Peak Demand

## Slide 13
13 PNWS-AWWA May 8, 2025
Chart: Surface Water Source Availability (mgd)
| Jan. | Feb. | Mar. | Apr. | May | June | July | Aug. | Sept. | Oct. | Nov. | Dec.
Daily Flow | 1725.6654 | 1874.3183 | 1809.6866 | 1945.4131 | 1770.9076 | 1047.033 | 633.3903 | 531.2723 | 538.3818 | 570.0513 | 1053.4961 | 1712.7391
Max Day Demand | 22.6021 | 23.4093 | 22.4198 | 22.9788 | 28.4349 | 37.6702 | 50.6725 | 51.7661 | 38.4236 | 25.5185 | 22.4138 | 22.2376

## Slide 14
14 PNWS-AWWA May 8, 2025
Chart: Surface Water Source Availability (mgd)
| Jan. | Feb. | Mar. | Apr. | May | June | July | Aug. | Sept. | Oct. | Nov. | Dec.
Daily Flow | 1725.6654 | 1874.3183 | 1809.6866 | 1945.4131 | 1770.9076 | 1047.033 | 633.3903 | 531.2723 | 538.3818 | 570.0513 | 1053.4961 | 1712.7391
Max Day Demand | 22.6021 | 23.4093 | 22.4198 | 22.9788 | 28.4349 | 37.6702 | 50.6725 | 51.7661 | 38.4236 | 25.5185 | 22.4138 | 22.2376

## Slide 15: Background
Municipal water suppliers looked to alternative sources for increasing supply, which was surface water
Over time, a different challenge: surface water supply limitations and/or water treatment capacity limitations
Oregon ASR rules developed in mid 1990’s
Renewed focus on CRBG aquifer for storage
15 PNWS-AWWA May 8, 2025

## Slide 16: ASR Development
16 PNWS-AWWA May 8, 2025
Beaverton ASR 1 (1.0 mgd)
Beaverton ASR 2 (2.0 mgd)
Beaverton ASR 4 (3.0 mgd)
Beaverton ASR 7 (1.5 mgd)
TVWD Grabhorn (2.0 mgd)
Tigard
ASR 1 (1.4 mgd)
Tigard
ASR 2 (2.4 mgd)
1996
2002
2008
2014
2020
2026
1999
2005
2011
2017
2023
Beaverton ASR 5 (2.0 mgd)
*
*
*
* = retrofit of existing groundwater well

## Slide 17: ASR Development
17 PNWS-AWWA May 8, 2025
Collective ASR capacity developed since 1998 of 950 million gallons of storage capacity inside CGWA
8 ASR wells
  Several additional in development
14 mgd of peak summertime supply capacity (over 30% for Beaverton)

## Slide 18
18 PNWS-AWWA May 8, 2025
Year 1947
SWL = 214
Year 1974
SWL = 132

## Slide 19
19 PNWS-AWWA May 8, 2025
Year 1947
SWL = 214
Year 1974
SWL = 132

## Slide 20
20 PNWS-AWWA May 8, 2025
Year 1947
SWL = 214
Year 1974
SWL = 132

## Slide 21
21 PNWS-AWWA May 8, 2025
Year 1947
SWL = 214
Year 1974
SWL = 132

## Slide 22
22 PNWS-AWWA May 8, 2025
Beaverton 1998
Tigard 2001
TVWD 2008

## Slide 23
23 PNWS-AWWA May 8, 2025

## Slide 24
24 PNWS-AWWA May 8, 2025

## Slide 25
25 PNWS-AWWA May 8, 2025

## Slide 26: ASR Development
26 PNWS-AWWA May 8, 2025

## Slide 27: ASR Development
Observations and Lessons Learned
Reactivation of historic seeps and/or artesian wells
27 PNWS-AWWA May 8, 2025

## Slide 28: ASR Development
Observations and Lessons Learned
Reactivation of historic seeps and/or artesian wells
Storage capacity limitations following groundwater level rise
28 PNWS-AWWA May 8, 2025

## Slide 29: Summary
1950-1970 - Groundwater level declines suggest usage beyond natural recharge
1972 – CMBM CGWA Declared
  945 mg sustainable groundwater usage
1970’s - Surface water developed
2000’s - ASR developed
  950 mg of storage
  14 mgd peak supply – 30% of peak capacity for Beaverton
Groundwater levels near pre-development levels
29 PNWS-AWWA May 8, 2025

## Slide 30: Climate Change
30 PNWS-AWWA May 8, 2025
Reduced Summer Streamflow
Increased Temperature
Mote et al., 2014
Rupp et al., 2016
Reduced Snowpack
=
=
= Increased Storage Needed

## Slide 31: Questions
Jason Melady, RG, CWRE
jmelady@summitwr.com
Ted Ressler, RG, CWRE
tressler@summitwr.com

## Slide 32: Background
Identify Tualatin Basin
Major municipal suppliers
Primary Aquifer - CRBG
Provenance
Hydrogeologic Attributes
32 PNWS-AWWA May 8, 2025

## Slide 33: What’s Next
For ASR
Thermal Applications
Stormwater recharge and reuse for non-potable applications
Tool for overcoming
33 PNWS-AWWA May 8, 2025

## Slide 34: Background
Identify Tualatin Basin
Major municipal suppliers
Primary Aquifer - CRBG
Provenance
Hydrogeologic Attributes
34 PNWS-AWWA May 8, 2025

## Slide 35: Background
Cooper-Bull Mountain CGWA
35 PNWS-AWWA May 8, 2025